## Read Me Instructions
There are two approaches that you can take to measure the change in your Energy Use Intensity (EUI) required for this action.
Approach #1 - Change in Energy Use Instensity based on recent Energy Use Data after a previous audit
Since this action requires a measure of your entire building portfolio, you will need to provide data for all buildings in your
portfolio regardless of whether or not any upgrades have been completed on each building.
To do this, follow these steps:
(1) Use the tab in this spreadsheet titled "EUI Change from Usage Data"
(2) For each building, enter the name of the facility, the square footage for the facility, and the energy usage identified in the baseline audit in Columns B - G.
This data will go into the yellow shaded cells of the spreadsheet. Be sure to include the date for the year of the audit in Cell H1.
The spreadsheet tool will automatically calulate for you the Energy Use Intensity score for each building based on the data.
(3) For each building, enter the energy usage for the most recent 12 months of actual energy use data in the cells in Columns K - O .
This data will go into the blue shaded cells of the spreadsheet. Be sure to include the date for the year of the energy use data in Cell P1.
The spreadsheet tool will automatically calulate for you the Energy Use Intensity score for each building based on the data.
(4) The spreadsheet will calculate the change in Energy Use Intensity for each building, and will also provide the weighted EUI for your entire portfolio.
The red shaded cell in column T is the change in EUI for the portfolio that is used to place you on the sliding scale of points for this action.
Approach #2 - Change in Energy Use Instensity based on potential savings identified in an Energy Audit
Since this action requires a measure of your entire building portfolio, you will need to provide data for all buildings in your
portfolio. The changes in Energy Use Instenity for this approach will be based on estimated energy savings identified in the audit.
To do this, follow these steps:
(1) Use the tab in this spreadsheet titled "EUI Change from Audit"
(2) For each building, enter the name of the facility, the square footage for the facility, and the energy usage identified in the baseline audit in Columns B - G.
This data will go into the yellow shaded cells of the spreadsheet. Be sure to include the date for the year of the audit in Cell H1.
The spreadsheet tool will automatically calulate for you the Energy Use Intensity score for each building based on the data.
(3) For each building, enter the potential energy savings estimated from implementing the upgrade measures in the audit in Columns K - O .
This data will go into the green shaded cells of the spreadsheet. Be sure to include the date for the year of the energy use data in the appropriate box.
The spreadsheet tool will automatically calulate for you the Energy Use Intensity score for each building based on the data.
(4) The spreadsheet will calculate the change in Energy Use Intensity for each building, and will also provide the weighted EUI for your entire portfolio.
The red shaded cell in column T is the change in EUI for the portfolio that is used to place you on the sliding scale of points for this action.

## EUI Change from Usage Data
|  | Baseline Energy Usage Data from Energy Audit Date --------------------------> | [6 empty] | Energy Usage Data Most recent 12 months Dated------------------------------>
Building | Building area in square feet | Enter your grid purchased electricity (kWh) in this column | Enter your natural gas (therms) in this column | Enter your oil (gallons) in this column | Enter your propane (gallons) into this column | Enter your on-site generated electricity (kWh) into this column | total kbtu per month | Baseline EUI | Enter your grid purchased electricity (kWh) in this column | Enter your natural gas (therms) in this column | Enter your oil (gallons) in this column | Enter your propane (gallons) into this column | Enter your on-site generated electricity (kWh) into this column | total kbtu per month | Current EUI | % Change EUI in Facility | Weighted
0%
Adapted from Solar Oregon's site EUI calcualtor for homes http://solaroregon.org/downloads/eui-calculator/view

## EUI Change for Audit
|  | Baseline Energy Usage Data from Energy Audit Date --------------------------> |  |  |  |  | LGEA-reviewed ESPM data for 2018 |  | Potential Savings identified from Energy Audit
Building | Building area in square feet | Enter your grid purchased electricity (kWh) in this column | Enter your natural gas (therms) in this column | Enter your oil (gallons) in this column | Enter your propane (gallons) into this column | Enter your on-site generated electricity (kWh) into this column | total kbtu per month | Baseline EUI | Enter potential electricity savings from ECMs (kWh) in this column | Enter potential natural gas savings from ECMs (therms) in this column | Enter potential oil savings from ECMs (gallons) in this column | Enter potential propane savings from ECMs (gallons) in this column | Enter potential on-site generated electricity from ECMs (kWh) in this column | total kbtu per month after energy upgrades | EUI after Energy Upgrades | % Change EUI in Facility | Weighted
Hartley Dodge Memorial | 39756 | 464400 | 33973.642 | 0 | 0 | 0 | 8544123.618 | 214.9141 | [5 empty] | 8544123.618 | 214.9141 | 0% | 0%
Madison Public Safety Complex | 42829 | 492300 | 19605.002 | 0 | 0 | 0 | 7334415.696 | 171.2488 | [5 empty] | 7334415.696 | 171.2488 | 0% | 0%
Department of Publics Works Garage | 12298 | 52200 | 14614 | 0 | 0 | 0 | 2093888.004 | 170.2625 |  | 2116.6536 |  |  |  | 1871639.3773 | 152.1905 | -10.61% | -0.991%
Madison Water & Light Plant | 12875 | 800480 | 4203.541 | 0 | 0 | 0 | 9019971.8786 | 700.5803 | [5 empty] | 9019971.8786 | 700.5803 | 0% | 0%
Madison Public Library | 23958 | 558000 | 17706.37 | 0 | 0 | 0 | 7839154.41 | 327.204 | [5 empty] | 7839154.41 | 327.204 | 0% | 0%
-0.991%
Adapted from Solar Oregon's site EUI calcualtor for homes http://solaroregon.org/downloads/eui-calculator/view